## Slide 1
Supplementary Fig. S1 The Trizol protocol according to the manufacturer’s protocol with a modified protein extraction work flow. The modified steps focus on an improved reconstitution of the protein pellet in 8M urea/2M thiourea (UT) and are highlighted by blue background.
+Trizol®
homogenization
incubation at RT
5 min
+Chloroform
RNA fraction
+Ethanol
+Isopropanol
Thawed sample
12.000 g
4⁰C, 15 min
DNA precipitation
Protein
precipitation
Discard
supernatant
12.000 g
4⁰C, 15 min
WASH
3X 0.3M guanidine hydrochloride in 95% EtOH
1 X 100% EtOH
7.500 g
4⁰C, 5 min
+ 8M urea/
2M thiourea (UT)
Incubate 20⁰C
Shake 800 rpm
Protein pellet
10.000 g
4⁰C, 10 min
Protein extract solution
Collect supernatant
2.000 g
4⁰C, 15 min
DNA fraction

## Slide 2
+Trizol®
homogenization
incubation at RT
5 min
+Chloroform
RNA
+Ethanol
+Isopropanol
Thawed sample
12.000 g
4⁰C, 15 min
DNA precipitation
Discard pellet
2.000 g
4⁰C, 15 min
Protein
precipitation
Discard
supernatant
12.000 g
4⁰C, 15 min
WASH
3X 0.3M guanidine hydrochloride in 95% EtOH
1 X EtOH 100%
7.500 g
4⁰C, 5 min
+150µl 8M urea/
2M thiourea (UT)
Incubate 20⁰C
800 rpm
Protein pellet
10.000 g
4⁰C, 10 min
Protein extract solution
Collect supernatant
Figure 1. The modified protein extraction protocol with Trizol, also depicting the dissolution step by addition of ~150µl 8M urea/2M thiourea (UT) to each sample